## Slide 1
SYED HASAN SAEED
Email: hasansaeedcontrol@gmail.com
Web Page: hasansaeed872726549.wordpress.com
shasansaeed.yolasite.com
syedhasansaeed.gnomio.com

## Slide 2: BOOKS
AUTOMATIC CONTROL SYSTEM: KUO & GOLANARAGHI
2. CONTROL SYSTEM: ANAND KUMAR
3. AUTOMATIC CONTROL SYSTEM: S. HASAN SAEED
ELECTRICAL MACINE & AUTOMATIC CONTROL: J.B.GUPTA & S. HASAN SAEED
AUTOMATIC CONTROL SYSTEM: R. A . BARAPATE

## Slide 3: LIQUID LEVEL SYSTEM
RESISTANCE OF LIQUID LEVEL SYSTEM:
Consider the flow through a short pipe connecting tank. The resistance R for liquid flow in which a pipe is defined as the change in the level difference necessary to cause a unit change in flow rate i.e.
Reference:
Fig.1
Load Valve
Control Valve
Resistance R

## Slide 4: LIQUID LEVEL SYSTEM
Consider the liquid level system as shown in Fig.1
If the flow is laminar, then the relationship between the steady state flow rate and steady state head at the level is given by
Q = K H (1)
Where, Q = steady state liquid flow rate, m3 / sec

## Slide 5: LIQUID LEVEL SYSTEM

## Slide 6: LIQUID LEVEL SYSTEM

## Slide 7: LIQUID LEVEL SYSTEM

## Slide 8: LIQUID LEVEL SYSTEM
MATHEMATICAL MODEL OF LIQUID LEVEL SYSTEM:
Fluid can be divided into two categories (1) Incompressible (2) Compressible
If the density of the fluid remains constant despite in pressure, then the fluid is known as incompressible.
If the density of the fluid changes with pressure, then the fluid is known as compressible.
All real fluids are compressible to some extent. As far as the level process is concerned, the liquid is assumed as incompressible.
Consider a liquid level system shown in fig.2
A = cross-sectional area if the tank
h = level of the liquid in tank

## Slide 9: LIQUID LEVEL SYSTEM
Reference:
Fig.2
Load Valve
R
A
h
m = total mass in tank
ρ = fluid density
qi = volume inflow rate
qo = volume outflow rate

## Slide 10: LIQUID LEVEL SYSTEM
Total mass in the tank m = ρ A h --------- (1) ( Density = mass / volume )

## Slide 11: LIQUID LEVEL SYSTEM

## Slide 12: LIQUID LEVEL SYSTEM

## Slide 13: LIQUID LEVEL SYSTEM

## Slide 14: LIQUID LEVEL SYSTEM
Fig.1 Liquid level System
R1
R2
q1
q0
h1
h2
q
Reference: Onkar N. Pandey, Instrumentation and Process Control S.K.Kataria & Sons, New Delhi, Edition: 2008-09
A1
A2

## Slide 15: LIQUID LEVEL SYSTEM
Consider two tanks connected as shown in fig
Where, h1 & h2 = level of the liquid in tanks
A1 & A2 = cross-sectional area of the tanks
Since h1 > h2, the mass flow rate q1 is going from tank 1 to tank 2.
Total mass in the tank 1 = ρ A1 h1 ------------- (1)
Rate of change of mass in tank 1 = mass inflow rate – mass outflow rate

## Slide 16: LIQUID LEVEL SYSTEM

## Slide 17: LIQUID LEVEL SYSTEM

## Slide 18: LIQUID LEVEL SYSTEM

## Slide 19: LIQUID LEVEL SYSTEM
+
-
Block Diagram of equation (9 A)

## Slide 20: LIQUID LEVEL SYSTEM
Block Diagram of equation (10A)
Block Diagram of equation (12A)
+
-
+
-

## Slide 21: LIQUID LEVEL SYSTEM
Block Diagram of equation (11A)
Combining block diagrams (9A) and (10A) , we get
+
-
+
-

## Slide 22: LIQUID LEVEL SYSTEM
+
-
+
-
+
-
Similarly, combine the other blocks, we get

## Slide 23: LIQUID LEVEL SYSTEM
+
-
+
-
+
-
R2
Use Block Reduction Method , redraw the fig as

## Slide 24: LIQUID LEVEL SYSTEM
+
-
+
-
Use Block Reduction Method , redraw the fig as
+
-

## Slide 25: LIQUID LEVEL SYSTEM
+
-
+
-
Use Block Reduction Method , redraw the fig as
+
-

## Slide 26: LIQUID LEVEL SYSTEM
-
-

## Slide 27: LIQUID LEVEL SYSTEM

## Slide 28
THANK YOU